## Slide 1
Heat recovery units. Reneo range.
2023

## Slide 2
Reneo D 180
blauberg-group.com
Max Air Flow – 181 m3/h
Sound pressure level, 3m (ref. point) – 29 dB(A)
Max. power – 53 W
Recovery efficiency up to 91 %
Enthalpy modification available (D 180-E units)
S14 / S21 Control system

## Slide 3
Reneo D 240
blauberg-group.com
Max Air Flow – 310 m3/h
Sound pressure level, 3m (ref. point) – 33 dB(A)
Max. power – 171 W
Recovery efficiency up to 91 %
Enthalpy modification available (D 180-E units)
S14/S21 Control system

## Slide 4
Reneo D 181 / 241
blauberg-group.com
Units with flat front panel, suitable for mounting of decorative panel.

## Slide 5
EP-Reneo D 181
blauberg-group.com
Decorative panels for Reneo D 181 and 241, different colors could be available.

## Slide 6
Technical parameters. Airflow.
blauberg-group.com
Chart: Reneo D 240
| 310 | 286 | 267 | 243 | 217 | 189 | 158 | 128 | 81 | 63 | 3
100% | 0 | 101 | 177 | 263 | 353 | 449 | 545 | 635 | 781 | 824 | 878
70% | 0 | 50 | 102 | 162 | 217 | 267 | 300 | 358 | 394 | 412 | 428
Duct1 | 100 | 69 | 44 | 25 | 11 | 3 | 0
Duct2 | 300 | 208 | 133 | 75 | 33 | 8 | 0
Duct3 | 500 | 347 | 222 | 125 | 56 | 14 | 0
SFP 0,6 W/l/s | 22 | 19 | 15
SFP 0,8 W/l/s | 49 | 53 | 55 | 52 | 44 | 2
SFP 1,0 W/l/s | 62 | 72 | 80 | 86 | 87 | 54 | 3
SFP 1,2 W/l/s | 72 | 85 | 98 | 110 | 117 | 113 | 61 | 4
SFP 1,4 W/l/s | 78 | 95 | 110 | 125 | 139 | 153 | 129 | 52 | 2
SFP 1,6 W/l/s | 82 | 100 | 117 | 137 | 154 | 184 | 180 | 139 | 37 | 4
SFP 1,8 W/l/s | 85 | 104 | 123 | 144 | 165 | 207 | 220 | 199 | 140 | 23 | 3
Chart: Reneo D 180
| 181 | 172 | 164 | 153 | 141 | 125 | 110 | 99 | 87 | 62 | 4
100% | 0 | 33 | 59 | 100 | 143 | 192 | 249 | 288 | 330 | 392 | 504
70% | 0 | 25 | 50 | 76 | 100 | 138 | 164 | 188 | 213 | 248 | 263
Duct1 | 100 | 69 | 44 | 25 | 11 | 3 | 0
Duct2 | 200 | 139 | 89 | 50 | 22 | 6 | 0
Duct3 | 300 | 208 | 133 | 75 | 33 | 8 | 0
SFP 0,6 W/l/s | 41 | 51 | 61 | 65 | 60 | 31 | 5
SFP 0,8 W/l/s | 49 | 65 | 83 | 92 | 98 | 104 | 79 | 4
SFP 1,0 W/l/s | 53 | 71 | 104 | 106 | 115 | 142 | 146 | 118 | 88 | 39 | 5
SFP 1,2 W/l/s | 0 | 0 | 0 | 0 | 126 | 162 | 185 | 181 | 160 | 126 | 82
SFP 1,4 W/l/s | 0 | 0 | 0 | 0 | 0 | 167 | 206 | 222 | 221 | 199 | 163
SFP 1,6 W/l/s | 0 | 0 | 0 | 0 | 0 | 172 | 216 | 246 | 261 | 260 | 239
SFP 1,8 W/l/s | 0 | 0 | 0 | 0 | 0 | 176 | 220 | 252 | 284 | 300 | 298

## Slide 7
Technical parameters. Noise level.
blauberg-group.com
Reference point, 70 % 50 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 49
Sound pressure level, 1m, dB(A) |  | 38
Sound pressure level, 3m, dB(A) |  | 29
Max Speed, 100 % 0 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 58
Sound pressure level, 1m, dB(A) |  | 47
Sound pressure level, 3m, dB(A) |  | 37
Reneo D 180

## Slide 8
Technical parameters. Noise level.
blauberg-group.com
Reference point, 70 % 50 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 53
Sound pressure level, 1m, dB(A) |  | 42
Sound pressure level, 3m, dB(A) |  | 33
Max Speed, 100 % 0 Pa |  | 
Sound Power level, A-weighted dB(A) |  | 61
Sound pressure level, 1m, dB(A) |  | 50
Sound pressure level, 3m, dB(A) |  | 40
Reneo D 240

## Slide 9
Thermal efficiency.
blauberg-group.com
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 91% | 87% | 85%
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 84% | 77% | 72%
Humidity recovery efficiency |  |  | 59% | 53% | 48%
Reneo D 180
Reneo D 180-E

## Slide 10
Thermal efficiency.
blauberg-group.com
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 91% | 84% | 82%
 |  |  | MIN Speed | MED Speed | MAX Speed
Thermal efficiency, according to EN 13141-7 |  |  | 80% | 69% | 60%
Humidity recovery efficiency |  |  | 57% | 45% | 37%
Reneo D 240
Reneo D 240-E
Molded casing tested. Final parameters

## Slide 11
blauberg-group.com
Construction

## Slide 12
Dimensions.
blauberg-group.com

## Slide 13
S14 control system
blauberg-group.com
Glass Control Panel
Speed selection
Filter replacement indication
Manual by-pass
Optional humidity control (via additional sensor)
Optional CO2 control (via additional sensor)
Fire alarm sensor connection

## Slide 14
S21. Advanced Control System.

## Slide 15
S21. Control Interfaces.
Glass panels S22 / S22 Wifi
Sensor display S25
Smartphone application

## Slide 16
S21. Air quality control.
Humidistat HR-S
Temperature sensor in S25 panel
CO2 sensor CD-1
VOC sensor

## Slide 17
S21. Connections and utility.
Internet connection via LAN or Wi-Fi
BMS connection via RS-485, Wi-Fi or LAN
Communication protocol – ModBus
Reheater, pre-heater and cooler connection
Condensing unit connection
Connection to Blauberg Cloud Server
All connections are pre-installed, no additional connectors are needed.

## Slide 19
Range of application
blauberg-group.com
Apartments

## Slide 20
Range of application
blauberg-group.com
Apartments
Cottages
Single-family houses

## Slide 21
blauberg-group.com
2022
Notes: Dear colleagues, thank you very much for your attention, please send your enquires to our sales department, visit our stand on ISH, for more information about our assortment, solutions and selection software, please, visit our web-site. Good bye and see you soon.